## Services
Service UUID	Service Name	Guardian 4 Standalone	780G	780G / (FW 8.13.2)	Guardian 3	740G	Note
00000100-0000-1000-0000-009132591325	Insulin Delivery	no	?	yes	no	yes
00000300-0000-1000-0000-009132591325	History and Trace	yes	?	yes	yes	yes	-
00000500-0000-1000-0000-009132591325	???	no	?	yes	no	yes
00000600-0000-1000-0000-009132591325	???	no	?	yes	no	yes
00000700-0000-1000-0000-009132591325	???	no	?	yes	no	yes
00000800-0000-1000-0000-009132591325	???	no	?	yes	no	yes
00001020-0000-1000-0000-009132591325	???	no	?	yes	no	yes
00001800-0000-1000-8000-00805f9b34fb	Generic Access (GAP)	yes	?	yes	yes	yes	standard GATT service (Bluetooth SIG)
00001801-0000-1000-8000-00805f9b34fb	Generic Attribute (GATT)	yes	?		no	no	standard GATT service (Bluetooth SIG)
00001805-0000-1000-8000-00805f9b34fb	Current Time	no	?	yes	no	yes	standard GATT service (Bluetooth SIG)
0000180a-0000-1000-8000-00805f9b34fb	Device Information	yes	?	yes	yes	yes	standard GATT service (Bluetooth SIG)
0000180f-0000-1000-8000-00805f9b34fb	Battery	yes	?	yes	yes	yes	standard GATT service (Bluetooth SIG)
0000181f-0000-1000-8000-00805f9b34fb	Continuous Glucose Monitoring (CGM)	yes	?	yes	yes	yes	standard GATT service (Bluetooth SIG)
0000fe81-0000-1000-8000-00805f9b34fb	???	?	?	?	?	?	member service allocated for Medtronic without a name (Bluetooth SIG)
0000fe82-0000-1000-8000-00805f9b34fb	SAKE	yes	?	no	yes	no???	member service allocated for Medtronic without a name (Bluetooth SIG)
15dbcd61-6388-4c33-b9d8-580254fed03b	???	yes	?		yes	yes	-
4484fae0-be34-11e4-851e-0002a5d5c51b	Connection Management Service	yes	?		no	no	-
980c2f36-bde3-11e4-8dfc-aa07a5b093db	Pump SSO (?)	no	yes		no	no	Used for SSO during pump pairing

## GAP Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00002a00-0000-1000-8000-00805f9b34fb	Device Name	no	no	-
00002a01-0000-1000-8000-00805f9b34fb	Appearance	no	no	-
00002a04-0000-1000-8000-00805f9b34fb	Peripheral Preferred Connection Parameters	no	no	-

This is a standard service specified by the Bluetooth SIG. Note that different characteristics are mandatory for LE Central and LE Peripheral.
See the Bluetooth Core spec, part “Generic Access Profile”, specifically “GAP service and characteristics for GATT Server”.

## GATT Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00002a05-0000-1000-8000-00805f9b34fb	Service Changed	no	no	-
00002b3a-0000-1000-8000-00805f9b34fb	Server Supported Features	no	no	-
00002b29-0000-1000-8000-00805f9b34fb	Client Supported Features	no	no	-
00002b2a-0000-1000-8000-00805f9b34fb	Database Hash	no	no	-

This is a standard service specified by the Bluetooth SIG. Note that different characteristics are mandatory for server and client.
See the Bluetooth Core spec, part “Generic Attribute Profile (GATT)”, specifically “Defined Generic Attribute Profile service”.

## Current Time Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
0x2A2B	Current Time	?	no

This is a standard service specified by the Bluetooth SIG. Only the mandatory characteristic appears to be implemented.

## Device Info Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00002a2a-0000-1000-8000-00805f9b34fb	IEEE 11073-20601 Regulatory Certification Data List	no	no	-
00002a28-0000-1000-8000-00805f9b34fb	Software Revision String	no	no	-
00002a29-0000-1000-8000-00805f9b34fb	Manufacturer Name String	no	no	-
00002a50-0000-1000-8000-00805f9b34fb	PnP ID	no	no	-
00002a25-0000-1000-8000-00805f9b34fb	Serial Number String	no	no	-
00002a27-0000-1000-8000-00805f9b34fb	Hardware Revision String	no	no	-
00002a23-0000-1000-8000-00805f9b34fb	System ID	no	no	-
00002a26-0000-1000-8000-00805f9b34fb	Firmware Revision String	no	no	-
00002a24-0000-1000-8000-00805f9b34fb	Model Number String	no	no	-

This is a standard service specified by the Bluetooth SIG.

## Battery Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00002a19-0000-1000-8000-00805f9b34fb	Battery Level	no	no	-

This is a standard service specified by the Bluetooth SIG. Only the mandatory characteristic appears to be implemented.

## CGM Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00000200-0000-1000-0000-009132591325	CGM Measurement Medtronic Extension	yes	yes	-
00000201-0000-1000-0000-009132591325	Sensor Connected State	no	yes	simple boolean logic, 1 if sensor/tester is actually inserted
00000202-0000-1000-0000-009132591325	Sensor Expiration Time	?	yes	-
00000203-0000-1000-0000-009132591325	Sensor Calibartion Time	?	yes	always static? 0000000000000000Ffff
00000204-0000-1000-0000-009132591325	Calibration Time Recommended	no	yes	always static? 0000000000000000Ffff
00000205-0000-1000-0000-009132591325	Algorithm Data	yes	yes	-
00002a52-0000-1000-8000-00805f9b34fb	Record Access Control Point	?	no	duplicated, History and Trace service also has this char; in code it is “Racp”
00002aa7-0000-1000-8000-00805f9b34fb	CGM Measurement	yes	no
00002aa8-0000-1000-8000-00805f9b34fb	CGM Feature	?	no	-
00002aa9-0000-1000-8000-00805f9b34fb	CGM Status	?	no	?
00002aaa-0000-1000-8000-00805f9b34fb	CGM Session Start Time	?	no	-
00002aab-0000-1000-8000-00805f9b34fb	CGM Session Run Time	?	no	-
00002aac-0000-1000-8000-00805f9b34fb	CGM Specific Ops Control Point	?	no	in code it is “Socp”

This is a standard service specified by the Bluetooth SIG. Medtronic added a couple of proprietary characteristics though.

## SAKE Service
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
0000FE82-0000-1000-0000-009132591325	SAKE Port	-	yes	it is responsible for the key exchange / handshake to establish encryption. There is also fe81 on the older devices?

## History and Trace
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00002a52-0000-1000-8000-00805f9b34fb	Record Access Control Point	?	no	duplicated, CGM service also has this
00000350-0000-1000-0000-009132591325	Slice Record	?	yes	-
00000360-0000-1000-0000-009132591325	Repository And Transfer Management Control Point	?	yes	-
00000370-0000-1000-0000-009132591325	Repository Management Control Point SE	?	yes	only the pumps have this?

## Connection Management
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
5f0b2420-be34-11e4-bc62-0002a5d5c51b	Active Params	?	?	-
500d8e40-be34-11e4-9b24-0002a5d5c51b	Client Requested Params	?	?	-

## 15DBx unknown
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
c774edac-e573-45e1-97c6-8b5c18cc571a	?	?	yes	-
de3e5221-1308-439c-a13a-884ddc387ca7	?	?	yes	-
8484039e-97d3-40c0-bb55-c70c17badae2	?	?	yes	-

## Pump SSO
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
980c34cc-bde3-11e4-8dfc-aa07a5b093db	?	no	yes	The pump should write this on connection, and it should be parsed into an SSO url by the client

## Insulin Delivery
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00000101-0000-1000-0000-009132591325	IDD Status Changed	?	yes
00000102-0000-1000-0000-009132591325	IDD Status	?	yes
00000103-0000-1000-0000-009132591325	IDD Annunciation Status	?	yes
00000104-0000-1000-0000-009132591325	IDD Features	?	yes
00000105-0000-1000-0000-009132591325	IDD Status Reader Control Point	?	yes
00000106-0000-1000-0000-009132591325	IDD Command Control Point	?	yes
00000107-0000-1000-0000-009132591325	IDD Command Data	?	yes
00000108-0000-1000-0000-009132591325	IDD History Data			pump uses this to send the requested old sensor data to the mobile app in batches
00000400-0000-1000-0000-009132591325	GST Battery Level
00002a52-0000-1000-8000-00805f9b34fb	Record Access Control Point	no	?	mobile app uses this to batch-request old sensor data for a specific time span from the pump after a new connection

## 500 Unknown
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00000510-0000-1000-0000-009132591325	NOS Port	?	yes?

## 1020 Unknown
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00001010-0000-1000-0000-009132591325	?	?	yes?

## 700 Unknown
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00000701-0000-1000-0000-009132591325	Secure Session Establishment	?	yes?
00000702-0000-1000-0000-009132591325	?	?	yes?

## 600 Unknown
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00000601-0000-1000-0000-009132591325	Certificate Management	?	yes?
00000602-0000-1000-0000-009132591325	?	?	yes?

## 800 Unknown
Char UUID	Char Name	Encrypted	Medtronic Proprietary	Notes
00000801-0000-1000-0000-009132591325	?	?	yes?
00000802-0000-1000-0000-009132591325	?	?	yes?