## Services
UUID	Name	Guardian 4 Standalone	780G	Guardian 3	740G	Note
00000100-0000-1000-0000-009132591325	???	no	?	no	yes
00000300-0000-1000-0000-009132591325	History and Trace Service	yes	?	yes	yes	-
00000500-0000-1000-0000-009132591325	???	no	?	no	yes
00000600-0000-1000-0000-009132591325	???	no	?	no	yes
00000700-0000-1000-0000-009132591325	???	no	?	no	yes
00000800-0000-1000-0000-009132591325	???	no	?	no	yes
00001020-0000-1000-0000-009132591325	???	no	?	no	yes
00001800-0000-1000-8000-00805f9b34fb	Generic Access	yes	?	yes	yes	-
00001801-0000-1000-8000-00805f9b34fb	GATT Service	yes	?	no	no	-
00001805-0000-1000-8000-00805f9b34fb	Current Time Service	no	?	no	yes
0000180a-0000-1000-8000-00805f9b34fb	Device Info Service	yes	?	yes	yes	-
0000180f-0000-1000-8000-00805f9b34fb	Battery Service	yes	?	yes	yes	-
0000181f-0000-1000-8000-00805f9b34fb	CGM Service	yes	?	yes	yes	-
0000fe82-0000-1000-8000-00805f9b34fb	SAKE Service	yes	?	yes	no???	-
15dbcd61-6388-4c33-b9d8-580254fed03b	???	yes	?	yes	yes	-
4484fae0-be34-11e4-851e-0002a5d5c51b	Connection Management Service	yes	?	no	no	-
980c2f36-bde3-11e4-8dfc-aa07a5b093db	Pump SSO (?)	no	yes	no	no	Used for SSO during pump pairing

## Device Info Service
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00002a2a-0000-1000-8000-00805f9b34fb	Regulatory Certification Data List	no	no	-
00002a28-0000-1000-8000-00805f9b34fb	Software Revision String	no	no	-
00002a29-0000-1000-8000-00805f9b34fb	Manufacturer Name String	no	no	-
00002a50-0000-1000-8000-00805f9b34fb	PnP ID	no	no	-
00002a25-0000-1000-8000-00805f9b34fb	Serial Number String	no	no	-
00002a27-0000-1000-8000-00805f9b34fb	Hardware Revision String	no	no	-
00002a23-0000-1000-8000-00805f9b34fb	System ID	no	no	-
00002a26-0000-1000-8000-00805f9b34fb	Firmware Revision String	no	no	-
00002a24-0000-1000-8000-00805f9b34fb	Model Number String	no	no	-

## Battery Service
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00002a19-0000-1000-8000-00805f9b34fb	Battery Level	no	no	-

## GATT Service
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00002a05-0000-1000-8000-00805f9b34fb	Service Changed	no	no	-

## CGM Service
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00000200-0000-1000-0000-009132591325	CGM Measurement Medtronic Extension	yes	yes	-
00000201-0000-1000-0000-009132591325	Sensor Connected State	no	yes	simple boolean logic, 1 if sensor/tester is actually inserted
00000202-0000-1000-0000-009132591325	Sensor Expiration Time	?	yes	-
00000203-0000-1000-0000-009132591325	Sensor Calibartion Time	?	yes	always static? 0000000000000000Ffff
00000204-0000-1000-0000-009132591325	Calibration Time Recommended	no	yes	always static? 0000000000000000Ffff
00000205-0000-1000-0000-009132591325	Algorithm Data	yes	yes	-
00002a52-0000-1000-8000-00805f9b34fb	Record Access Control Point	?	no	duplicated, History and Trace service also has this char; in code it is “Racp”
00002aa7-0000-1000-8000-00805f9b34fb	CGM Measurement	yes	no
00002aa8-0000-1000-8000-00805f9b34fb	CGM Feature	?	no	-
00002aa9-0000-1000-8000-00805f9b34fb	CGM Status	?	no	?
00002aaa-0000-1000-8000-00805f9b34fb	CGM Session Start Time	?	no	-
00002aab-0000-1000-8000-00805f9b34fb	CGM Session Run Time	?	no	-
00002aac-0000-1000-8000-00805f9b34fb	CGM Specific Ops Control Point	?	no	in code it is “Socp”

## SAKE Service
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
0000FE82-0000-1000-0000-009132591325	SAKE Port	-	yes	it is responsible for the key exchange / handshake to establish encryption. There is also fe81 on the older devices?

## History and Trace
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00002a52-0000-1000-8000-00805f9b34fb	Record Access Control Point	?	no	duplicated, CGM service also has this
0000350-0000-1000-0000-009132591325	?	?	yes	-
00000360-0000-1000-0000-009132591325	?	?	yes	-
00000370-0000-1000-0000-009132591325	?	?	yes	only the pumps have this?

## Generic Access
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00002a01-0000-1000-8000-00805f9b34fb	Appearance	?	?	-
00002a00-0000-1000-8000-00805f9b34fb	Device Name	?	?	-
00002a04-0000-1000-8000-00805f9b34fb	Peripheral Preferred Connection Parameters	?	?	-

## Connection Management
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
5f0b2420-be34-11e4-bc62-0002a5d5c51b	Active Params	?	?	-
500d8e40-be34-11e4-9b24-0002a5d5c51b	Client Requested Params	?	?	-

## 15DBx unknown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
c774edac-e573-45e1-97c6-8b5c18cc571a	?	?	yes	-
de3e5221-1308-439c-a13a-884ddc387ca7	?	?	yes	-
8484039e-97d3-40c0-bb55-c70c17badae2	?	?	yes	-

## Pump SSO
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
980c34cc-bde3-11e4-8dfc-aa07a5b093db	?	no	yes	The pump should write this on connection, and it should be parsed into an SSO url by the client

## 100 unkown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00000101-0000-1000-0000-009132591325	?	?	yes
00000102-0000-1000-0000-009132591325	?	?	yes
00000103-0000-1000-0000-009132591325	?	?	yes
00000104-0000-1000-0000-009132591325	?	?	yes
00000105-0000-1000-0000-009132591325	?	?	yes
00000106-0000-1000-0000-009132591325	?	?	yes
00000107-0000-1000-0000-009132591325	?	?	yes
00000108-0000-1000-0000-009132591325
00000400-0000-1000-0000-009132591325

## Current Time Service
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
0x2A2B	Current Time	?	no

## 500 Unknown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00000510-0000-1000-0000-009132591325	?	?	yes?

## 1020 Unknown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00001010-0000-1000-0000-009132591325	?	?	yes?

## 700 Unknown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00000701-0000-1000-0000-009132591325	?	?	yes?
00000702-0000-1000-0000-009132591325	?	?	yes?

## 600 Unknown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00000601-0000-1000-0000-009132591325	?	?	yes?
00000602-0000-1000-0000-009132591325	?	?	yes?

## 800 Unknown
Char UUID	Name	Encrypted	Medtronic Proprietary	Notes
00000801-0000-1000-0000-009132591325	?	?	yes?
00000802-0000-1000-0000-009132591325	?	?	yes?